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Appendix B: In-detail Comparison Between before and After Adding Shade
Case N-01:
Daylight Glare Probability:
2/21 12:30 pm Perceptible Glare (37% DGP)
2/21 12:30 pm Disturbing Glare (43% DGP)
After shade
Before shade
N
N


Useful Daylight Illuminance:

Before shade
2/21 12:30 pm Excessive Daylight Illuminance (3885 [lux])
After shade
2/21 12:30 pm Acceptable Daylight Illuminance (2592 [lux])
N
N



Case N-02:
Daylight Glare Probability:
Before shade
10/1 11:30 am Perceptible Glare (36% DGP)
10/1 11:30 am Imperceptible Glare (33% DGP)
After shade
N
N


Useful Daylight Illuminance:
 
10/1 11:30 am Excessive Daylight Illuminance (3020 [lux])
N
Before shade
10/1 11:30 am Acceptable Daylight Illuminance (2518 [lux])
N
After shade




Case N-03:
Daylight Glare Probability:
Before shade
After shade
8/4 12:00 pm Disturbing Glare (41% DGP)
8/4 12:00 pm Perceptible Glare (38% DGP)
N
N















Useful Daylight Illuminance:
Before shade
8/4 12:00 pm Excessive Daylight Illuminance (3174 [lux])
N
8/4 12:00 pm Acceptable Daylight Illuminance (2553 [lux])
N
After shade




Case N-04:
Daylight Glare Probability:
5/7 2:00 pm Intolerable Glare (100% DGP)
N
Before shade
5/7 2:00 pm Imperceptible Glare (30% DGP)
N
After shade


Useful Daylight Illuminance:

After shade
N
5/7 2:00 pm Excessive Daylight Illuminance (2168 [lux])
Before shade
N
5/7 2:00 pm Acceptable Daylight Illuminance (3143 [lux])



Case N-05:
Daylight Glare Probability:
Before shade
After shade
5/28 2:30 pm Intolerable Glare (100% DGP)
5/28 2:30 pm Imperceptible Glare (33% DGP)
N
N


Useful Daylight Illuminance:

After shade
5/28 2:30 pm Acceptable Daylight Illuminance (2037 [lux])
N
Before shade
5/28 2:30 pm Excessive Daylight Illuminance (6351 [lux])
N




Case N-06:
Daylight Glare Probability:
Before shade
After shade
8/6 10:00 am Intolerable Glare (100% DGP)
8/6 10:00 am Imperceptible Glare (35% DGP)
N
N


Useful Daylight Illuminance:

 8/6 10:00 am at the border of Acceptable and Excessive Daylight Illuminance (2995 [lux])
N
8/6 10:00 am Acceptable Daylight Illuminance (2437 [lux])
N
Before shade
After shade



Case N-07:
Daylight Glare Probability:
N
After shade
3/28 12:00 pm Imperceptible Glare (23% DGP)
N
Before shade
3/28 12:00 pm Intolerable Glare (100% DGP)


Useful Daylight Illuminance: 

[bookmark: _GoBack]N
Before shade
3/28 12:00 pm Excessive Daylight Illuminance (7870 [lux])
After shade
N
3/28 12:00 pm Acceptable Daylight Illuminance (2561 [lux])
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Fig. A-1: Annual glare analysis for six different typical eye height for a ImxIm grid of positions in a single room which has one north-
facing window (no shading) located at Sydney Olympic Park (WWR=20%) under clear sky condition all day long 365 days:
a) Eye level of 1.1m for a seated person b) Eye level of 1.2m for a seated person; ) Eye level of 1.3m for a seated person;

d) Eye level of 1.5m for a standing person; ¢) Eye level of 1.6m for a standing person: f) Eye level of 1.7m for a standing
berson:
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