SUPPLIMENTARY DOCUMENT FOR ARTICLE FEBE-06-2022-0021.R1

An estimation of bio-methane and energy project potentials of municipal solid waste using landfill gas emission and cost models

ST 1: Study area landfills approximate characteristics at time of experiment

| Parameters | Landfill A | Landfill B | Landfill C | Landfill D | Average/ Total |
| --- | --- | --- | --- | --- | --- |
| Area covered by landfills (m2) | 691.6 | 2856 | 410.4 | 2046 | 6,012 |
| Volume of each landfill (m3) | 2282.28 | 9139.20 | 2093.04 | 7979.40 | 21,493.92 |
| Approx. design area of the landfill (m2) | 34,550 | 142,800 | 20,520 | 102,300 | 300,600 |
| Approx. design area of the landfill (Acre) | 8.54 | 35.29 | 5.07 | 25.28 | 74.28 |
| Volume of drum (m3) | 0.2271 | 0.2271 | 0.2271 | 0.2271 | 0.2271 |
| No of drums per landfills (units) (2015) | 10,049.67 | 40,243.06 | 9,216.38 | 35,136.06 | 94,645.17 |
| No of drums per day (units) | 7 | 17 | 6 | 13 | 43 |
| Average landfill period spend (yrs.) | 4 | 7 | 5 | 8 | 8 |
| Average density of the waste (kg/m3) | 82.41 | 55.30 | 75.03 | 44.87 | 56.23 |
| Waste generation rate (Mg cap-1 yr-1) | 0.128 | 0.128 | 0.128 | 0.128 | 0.128 |
| Average population serving the landfill | 11,827 | 52,293 | 10,542 | 42,241 | 116,903 |
| Annual population increase rate | 1.029 | 1.029 | 1.029 | 1.029 | 1.029 |
| Paper and Textile (Mg) | 25.82 | 123.68 | 21.87 | 92.29 | 263.66 |
| Garden, park and non-food waste (Mg) | 67.42 | 306.06 | 60.19 | 247.79 | 681.45 |
| Food and kitchen Waste (Mg) | 182.89 | 799.08 | 164.64 | 650.59 | 1,797.20 |
| Wood and Straw (Mg) | 19.54 | 83.12 | 17.78 | 69.06 | 189.50 |
| Other waste types (Mg) | 443.50 | 1,967.91 | 396.71 | 1,589.61 | 4,397.73 |
| Total degradable waste (Mg) | 295.67 | 1,311.94 | 264.47 | 1,059.74 | 2,931.82 |
| Total waste acceptance MSWD (Mg/yr.) | 739.17 | 3,279.85 | 661.18 | 2,649.34 | 7,329.55 |
| Total waste potential MSWT (Mg/yr.) | 1,513.86 | 6,693.50 | 1,349.38 | 5,406.85 | 14,963.58 |
| Percentage of waste acceptance (%) | 48.83% | 48.96 | 49.00 | 49.00 | 49.88 |

ST 2: Summary of LFG generated from the landfills using Land GEM model

| Year | Waste Accepted |  | Waste-In-Place |  | Total landfill gas |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | (Mg/year) | (short tons/year) | (Mg) | (short tons) | (Mg/year) | (m3/year) |
| 2015 | 14,964 | 16,460 | 0 | 0 | 0 | 0 |
| 2016 | 15,398 | 16,937 | 14,964 | 16,460 | 3.106E+02 | 2.487E+05 |
| 2017 | 15,844 | 17,428 | 30,361 | 33,397 | 6.151E+02 | 4.926E+05 |
| 2018 | 16,304 | 17,934 | 46,205 | 50,826 | 9.141E+02 | 7.319E+05 |
| 2019 | 16,776 | 18,454 | 62,509 | 68,760 | 1.208E+03 | 9.673E+05 |
| 2020 | 17,263 | 18,989 | 79,285 | 87,214 | 1.497E+03 | 1.199E+06 |
| 2021 | 17,763 | 19,540 | 96,548 | 106,203 | 1.783E+03 | 1.427E+06 |
| 2022 | 18,279 | 20,106 | 114,311 | 125,742 | 2.064E+03 | 1.653E+06 |
| 2023 | 18,809 | 20,690 | 132,590 | 145,849 | 2.343E+03 | 1.876E+06 |
| 2024 | 19,354 | 21,290 | 151,399 | 166,539 | 2.619E+03 | 2.098E+06 |
| 2025 | 19,915 | 21,907 | 170,753 | 187,828 | 2.893E+03 | 2.317E+06 |
| 2026 | 20,493 | 22,542 | 190,668 | 209,735 | 3.166E+03 | 2.535E+06 |
| 2027 | 21,087 | 23,196 | 211,161 | 232,277 | 3.437E+03 | 2.752E+06 |
| 2028 | 21,699 | 23,869 | 232,248 | 255,473 | 3.707E+03 | 2.968E+06 |
| 2029 | 22,328 | 24,561 | 253,947 | 279,342 | 3.977E+03 | 3.184E+06 |
| 2030 | 22,976 | 25,273 | 276,275 | 303,903 | 4.246E+03 | 3.400E+06 |
| 2031 | 23,642 | 26,006 | 299,251 | 329,176 | 4.516E+03 | 3.616E+06 |
| 2032 | 24,327 | 26,760 | 322,893 | 355,182 | 4.787E+03 | 3.833E+06 |
| 2033 | 25,033 | 27,536 | 347,220 | 381,942 | 5.058E+03 | 4.050E+06 |
| 2034 | 25,759 | 28,335 | 372,253 | 409,478 | 5.331E+03 | 4.269E+06 |
| 2035 | 26,506 | 29,157 | 398,012 | 437,813 | 5.606E+03 | 4.489E+06 |
| 2036 | 27,275 | 30,002 | 424,518 | 466,970 | 5.883E+03 | 4.711E+06 |
| 2037 | 28,066 | 30,872 | 451,793 | 496,972 | 6.162E+03 | 4.934E+06 |
| 2038 | 28,879 | 31,767 | 479,858 | 527,844 | 6.444E+03 | 5.160E+06 |
| 2039 | 29,717 | 32,689 | 508,738 | 559,611 | 6.729E+03 | 5.389E+06 |
| 2040 | 30,579 | 33,637 | 538,455 | 592,300 | 7.018E+03 | 5.620E+06 |
| 2041 | 31,466 | 34,612 | 569,033 | 625,937 | 7.311E+03 | 5.854E+06 |
| 2042 | 32,378 | 35,616 | 600,499 | 660,549 | 7.607E+03 | 6.092E+06 |
| 2043 | 33,317 | 36,649 | 632,877 | 696,165 | 7.909E+03 | 6.333E+06 |
| 2044 | 34,283 | 37,712 | 666,194 | 732,813 | 8.214E+03 | 6.578E+06 |
| 2045 | 35,277 | 38,805 | 700,477 | 770,525 | 8.526E+03 | 6.827E+06 |
| 2046 | 36,300 | 39,931 | 735,755 | 809,330 | 8.842E+03 | 7.080E+06 |
| 2047 | 37,353 | 41,089 | 772,055 | 849,261 | 9.164E+03 | 7.338E+06 |
| 2048 | 38,436 | 42,280 | 809,408 | 890,349 | 9.493E+03 | 7.602E+06 |
| 2049 | 39,551 | 43,506 | 847,845 | 932,629 | 9.828E+03 | 7.870E+06 |
| 2050 | 40,698 | 44,768 | 887,396 | 976,135 | 1.017E+04 | 8.143E+06 |
| 2051 | 41,878 | 46,066 | 928,094 | 1,020,903 | 1.052E+04 | 8.423E+06 |
| 2052 | 43,093 | 47,402 | 969,972 | 1,066,969 | 1.087E+04 | 8.708E+06 |
| 2053 | 44,342 | 48,777 | 1,013,065 | 1,114,371 | 1.124E+04 | 9.000E+06 |
| 2054 | 45,628 | 50,191 | 1,057,407 | 1,163,148 | 1.161E+04 | 9.298E+06 |
| 2055 | 46,952 | 51,647 | 1,103,036 | 1,213,339 | 1.199E+04 | 9.603E+06 |
| 2056 | 48,313 | 53,145 | 1,149,987 | 1,264,986 | 1.238E+04 | 9.915E+06 |
| 2057 | 49,714 | 54,686 | 1,198,301 | 1,318,131 | 1.278E+04 | 1.023E+07 |
| 2058 | 51,156 | 56,272 | 1,248,015 | 1,372,817 | 1.319E+04 | 1.056E+07 |
| 2059 | 52,640 | 57,903 | 1,299,171 | 1,429,088 | 1.361E+04 | 1.090E+07 |
| 2060 | 54,166 | 59,583 | 1,351,811 | 1,486,992 | 1.404E+04 | 1.124E+07 |
| 2061 | 55,737 | 61,311 | 1,405,977 | 1,546,574 | 1.448E+04 | 1.159E+07 |
| 2062 | 57,353 | 63,089 | 1,461,714 | 1,607,885 | 1.493E+04 | 1.195E+07 |
| 2063 | 59,017 | 64,918 | 1,519,067 | 1,670,974 | 1.539E+04 | 1.232E+07 |
| 2064 | 60,728 | 66,801 | 1,578,083 | 1,735,892 | 1.587E+04 | 1.270E+07 |
| 2065 | 62,489 | 68,738 | 1,638,811 | 1,802,693 | 1.635E+04 | 1.309E+07 |
| 2066 | 0 | 0 | 1,701,300 | 1,871,431 | 1.685E+04 | 1.349E+07 |
| 2067 | 0 | 0 | 1,701,300 | 1,871,431 | 1.603E+04 | 1.284E+07 |
| 2068 | 0 | 0 | 1,701,300 | 1,871,431 | 1.525E+04 | 1.221E+07 |
| 2069 | 0 | 0 | 1,701,300 | 1,871,431 | 1.451E+04 | 1.161E+07 |
| 2070 | 0 | 0 | 1,701,300 | 1,871,431 | 1.380E+04 | 1.105E+07 |
| 2080 | 0 | 0 | 1,701,300 | 1,871,431 | 8.369E+03 | 6.701E+06 |
| 2090 | 0 | 0 | 1,701,300 | 1,871,431 | 5.076E+03 | 4.065E+06 |
| 2100 | 0 | 0 | 1,701,300 | 1,871,431 | 3.079E+03 | 2.465E+06 |
| 2110 | 0 | 0 | 1,701,300 | 1,871,431 | 1.867E+03 | 1.495E+06 |
| 2120 | 0 | 0 | 1,701,300 | 1,871,431 | 1.133E+03 | 9.069E+05 |
| 2130 | 0 | 0 | 1,701,300 | 1,871,431 | 6.869E+02 | 5.501E+05 |

ST 3: Basic project inputs for LFGCost-Web model (EPA, 2021b; EPA, 2021c)

| Basic and design input parameters | Project Size | Equivalent SI units |
| --- | --- | --- |
| Year landfill opened | 2007 | 2007 |
| Year of landfill closure | 2027 | 2027 |
| Area of LFG wellfield (1 well/acre) | 10 acre | 40,400 m2 |
| Average annual waste acceptance rate | 39,900 Ton/yr. | 39,900 Mg/yr. |
| Energy project begins operation | 2023 | 2023 |
| CH4 content of landfill gas | 50% | 50 % |
| CH4 generation rate constant, k (yr-1) | 0.04 yr-1 | 0.04 yr-1 |
| Potential CH4 generation capacity L0 | 3204 ft3/ton | 90.73 m3/Mg |
| RNG Processing Plant | 1,000-6,000 ft3/min LFG | 28.3-170 m3/min LFG |
| Standard Turbine-Generator Sets | Greater than 3 MW | Greater than 3 MW |

SF 1: User input page of LandGEM Model (EPA, 2020)

SF 2: Variation of total LFG, CH4, CO2 and NMOC in m3/yr.

SF 3: Comparison of electricity potential using IPCC default, FOD and LandGEM